General List of Documents, GT7

| Part Pos./Des. | Document title | Doc.Id |
| --- | --- | --- |
| 1A 0101 | General Introduction | 1CS37168 |
| 1A 0201 | Revision Routine | 1CS37169 |
| 1A 0301 | General Safety | 1CS37170 |
| 1A 0401 | Documentation Structure | 1CS58097 |
| 1A 0501 | General List of Documents | 1A0501 |
| 1A 0601 | General List of Components | 1A0601 |
| 1A 0701 | KKS Designation system | 1CS36949 |
| 2A3 0101 | GT Operating Introduction | 1CS50859 |
| 2A3 0201 | Operating Safety | 1CS50849 |
| 2A3 0301 | Requirements | 1CS50850 |
| 2A3 0401 | Operating Instructions | 1CS50851 |
| 2A3 0501 | Routine Readings | 1CS50852 |
| 2A3 0502 | Operation Statistics | 1CS50854 |
| 2A3 0503 | Operation Maintenance schedule | 1CS50856 |
| 2A3 0601 | HMI (Human Machine Interface) Description | 1CS50857 |
| 2A3 0701 | GT Display Description | 1CS58432 |
| 2A3 0801 | Base Position List | 2046041 |
| 2B3 0101 | Fault Procedures | 1CS58183 |
| 2C3 0101 | CAA - Protection System | 1CS39570 |
| 2C3 0202 | CBP - Syncronizing Equipment | 1CS39565 |
| 2C3 0303 | CJP - Turbine Gouvernor | 1CS39726 |
| 2C3 0404 | MBB - Power Turbine system | 1CS39623 |
| 2C3 0505 | MBH10 - Cooling & sealing air system | 1CS39418 |
| 2C3 0606 | MBH20 - Purge air system | 1CS39429 |
| 2C3 0707 | MBJ - Starting system | 1CS39626 |
| 2C3 0808 | MBK - Gear System | 80049786 |
| 2C3 0909 | MBL - Air intake filter system | 1CS39421 |
| 2C3 1010 | MBM - Combustor dilution air system | 1CS40891 |
| 2C3 1111 | MBN - Liquid fuel system | 1CS39864 |
| 2C3 1212 | MBP - Gas fuel system | 1CS38475 |
| 2C3 1313 | MBQ - Ignition gas system | 1CS38494 |
| 2C3 1414 | MBT - Gas generator system | 1CS39628 |
| 2C3 1515 | MBU10 - Liquid fuel dosage system | 1CS39848 |
| 2C3 1616 | MBV - Lubrication oil system | 1CS38313 |
| 2C3 1717 | MKA - Generator system | 1CS39554 |
| 2C3 1818 | MKC,MKY - Excitation and Voltage syst. | 1CS39675 |
| 2C3 1919 | SAA,SAG - Ventilation system | 1CS39468 |
| 2C3 2020 | SAC - Ventilation sys. Ctrl room | 1CS39471 |
| 2C3 2121 | SAE - Ventilation sys. Generator | 1CS39470 |
| 2C3 2222 | SDB - Compressor Washing system | 1CS39572 |
| 2C3 2323 | SFY - Gas Detection system | 1CS39571 |
| 2C3 2424 | SGJ - Fire Detection & Extinguishing syst. | 1CS39466 |
| 2D3 0101 | Legend for symbols | 2046018 |
| 2D3 0201 | MBB,MBJ,MBT - Power Turbine-/Starting-/Gas Generator System | 2046019 |
| 2D3 0301 | MBH10 - Cooling And Sealing Air System | 2046020 |
| 2D3 0401 | MBH20 - Purge Air System | 2046021 |
| 2D3 0501 | MBK - Gear System | 2046022 |
| 2D3 0601 | MBL - Air Intake Filter System | 2046023 |
| 2D3 0701 | MBN,MBU10 - Liquid Fuel System/Liquid Fuel Dosage System | 2046025 |
| 2D3 0801 | MBP - Gas Fuel System | 2046026 |
| 2D3 0901 | MBQ - Ignition Gas System | 2046027 |
| 2D3 1001 | MBV - Lubrication Oil System | 2046028 |
| 2D3 1101 | 11 * MK - Generator System | 2046029 |
| 2D3 1201 | QFA - Instrument Air System Including Compressor | 2046030 |
| 2D3 1301 | SAA,SAG - Ventilation System | 2046031 |
| 2D3 1401 | SAC - Ventilation System Control Room | 2046032 |
| 2D3 1501 | SAE - Ventilation System Generator | 2046033 |
| 2D3 1601 | SDB - Compressor Washing System | 2046034 |
| 2D3 1701 | SFY - Gas Detection System | 2046035 |
| 2D3 1801 | SGJ - Fire Detection & Extinguishing System | 2046036 |
| 2E3 0101 | Setting List | 2046040 |
| 2E3 0201 | Instrument List | 2046039 |
| 2E3 0301 | Aggregate List | 2046037 |
| 2E3 0401 | Electrical load list | 2046038 |
| 3A3 0101 | GT Maintanance Introduction | 1CS51012 |
| 3A3 0201 | Maintenance Safety PG | 1CS51015 |
| 3A3 0301 | Compressor Washing Instruction | 1CS51016 |
| 3A3 0302 | Lubrication oil system instruction | 1CS51020 |
| 3A3 0303 | Lubricant List | 1CS51021 |
| 3A3 0304 | Gas fuel filter change instruction | 1CS51023 |
| 3A3 0305 | Liquid fuel filter change instruction | 1CS51024 |
| 3A3 0306 | Liquid fuel test instruction | 1CS51025 |
| 3A3 0307 | Dump and load of software | 1CS51026 |
| 3A3 0401 | GT Storage and Preservation | 1CS26792 |
| 3C-3 0101 | List of Documents | 1CS64633 |
| 3C-3 0103 | Single Line Diagram MV 11kV | 1CS63312 |
| 3C-3 0104 | Single Line Diagram LV 400/230/24V | 1CS63334 |
| 3C-3 0105 | Earthing Layout GT Skid | 1CS63367 |
| 3C-3 0106 | Setting List Switchgear | 1CS40154 |
| 3C-3 0107 | Setting List AVR | HDE7-001/E |
| 3C-3 0108 | Setting List Relay Protection | 1CS63384 |
| 3C-3 0109 | Setting List SFC MBV & BPA System | 1CS40151 |
| 3C-3 0111 | Setting List SFC MBJ System | 1CS44440 |
| 3C-3 0112 | Setting List SFC MBN System | 1CS44447 |
| 3C-3 0113 | Setting List Moog Drives | 1CS36705 |
| 3C-3 0115 | Setting List Battery Charger | 1CS42058 |
| 3C-3 0201 | Circuit Diagram | 3815853 |
| 3C-3 0301 | Cable Table | 1CSL4646 |
| 3C-3 0302 | Connection Table External | 1CSL4648 |
| 3C-3 0304 | Connection Table | 1CSL4647 |
| 3C-3 0401 | Layout Control Room | 1CS63338 |
| 3C-3 0403 | Layout Control Cubicles CHA10-20 | 1CS63445 |
| 3C-3 0404 | List of Apparatus CHA10-20 | 1CSL4688 |
| 3C-3 0406 | Layout Control Cubicles CJP10-30 | 1CS63441 |
| 3C-3 0407 | List of Apparatus CJP10-30 | 1CSL4685 |
| 3C-3 0409 | Junction Box Layout & Spec. | 3800413 |
| 3D-3 0101 | Crossreference List PC-DB | 3816213 |
| 3D-3 0201 | PC1 Unit Automatic & Sequencing | 3816210 |
| 3D-3 0202 | PC2 Turbine Automatic & Sequencing | 3816211 |
| 3D-3 0303 | PC3 Generator Automatic & Sequencing | 3816212 |
| 3D-3 0401 | Crossreference Lisgt PC-DB, stn 02 | 3816215 |
| 3D-3 0403 | PC2 Tree | 3816214 |
| 3D-3 0501 | Crossreference List PC-DB, stn 03 | 3816217 |
| 3D-3 0503 | PC3 Tree | 3816216 |
| 3D-3 0601 | Crossreference List PC-DB, stn 05 | 3816219 |
| 3D-3 0603 | PC 1 Tree, stn 05 | 3816218 |