General List of Documents, GT8

| Part Pos./Des. | Document title | Doc.Id |
| --- | --- | --- |
| 1A 0101 | General Introduction | 1CS37168 |
| 1A 0201 | Revision Routine | 1CS37169 |
| 1A 0301 | General Safety | 1CS37170 |
| 1A 0401 | Documentation Structure | 1CS58097 |
| 1A 0501 | General List of Documents | 1A0501 |
| 1A 0601 | General List of Components | 1A0601 |
| 1A 0701 | KKS Designation system | 1CS36949 |
| 2A3 0101 | GT Operating Introduction | 1CS50859 |
| 2A3 0201 | Operating Safety | 1CS50849 |
| 2A3 0301 | Requirements | 1CS50850 |
| 2A3 0401 | Operating Instructions | 1CS50851 |
| 2A3 0501 | Routine Readings | 1CS50852 |
| 2A3 0502 | Operation Statistics | 1CS50854 |
| 2A3 0503 | Operation Maintenance schedule | 1CS50856 |
| 2A3 0601 | HMI (Human Machine Interface) Description | 1CS50857 |
| 2A3 0701 | GT Display Description | 1CS58432 |
| 2A3 0801 | Base Position List | 2046041 |
| 2B3 0101 | Fault Procedures | 1CS59383 |
| 2C3 0101 | CAA - Protection System | 1CS39570 |
| 2C3 0201 | CBP - Syncronizing Equipment | 1CS39565 |
| 2C3 0301 | CJP - Turbine Gouvernor | 1CS39726 |
| 2C3 0401 | MBB - Power Turbine System | 1CS39623 |
| 2C3 0501 | MBH10 - Cooling & Sealing Air System | 1CS39418 |
| 2C3 0601 | MBH20 - Purge Air System | 1CS39429 |
| 2C3 0701 | MBJ - Starting System | 1CS39626 |
| 2C3 0801 | MBK - Gear System | 80049786 |
| 2C3 0901 | MBL - Air Intake Filter System | 1CS39421 |
| 2C3 1001 | MBM - Combustor Dilution Air System | 1CS40891 |
| 2C3 1101 | MBN - Liquid Fuel System | 1CS39864 |
| 2C3 1201 | MBP - Gas Fuel System | 1CS38475 |
| 2C3 1301 | MBQ - Ignition Gas System | 1CS38494 |
| 2C3 1401 | MBT - Gas Generator System | 1CS39628 |
| 2C3 1501 | MBU10 - Liquid Fuel Dosage System | 1CS39848 |
| 2C3 1601 | MBV - Lubrication Oil System | 1CS38313 |
| 2C3 1701 | MKA - Generator System | 1CS39554 |
| 2C3 1801 | MKC,MKY - Excitation and Voltage System | 1CS39675 |
| 2C3 1901 | SAA,SAG - Ventilation System | 1CS39468 |
| 2C3 2001 | SAC - Ventilation System Control room | 1CS39471 |
| 2C3 2101 | SAE - Ventilation System Generator | 1CS39470 |
| 2C3 2201 | SDB - Compressor Washing System | 1CS39572 |
| 2C3 2301 | SFY - Gas Detection System | 1CS39571 |
| 2C3 2401 | SGJ - Fire Detection & Extinguishing System | 1CS39466 |
| 2D3 0101 | Legend for symbols | 2046018 |
| 2D3 0201 | MBB,MBJ,MBT - Power Turbine-/Starting-/Gas Generator System | 2046019 |
| 2D3 0301 | MBH10 - Cooling And Sealing Air System Gas, Oil | 2046020 |
| 2D3 0401 | MBH20 - Purge Air System | 2046021 |
| 2D3 0501 | MBK - Gear System | 2046022 |
| 2D3 0601 | MBL - Air Intake Filter System | 2046023 |
| 2D3 0701 | MBN,MBU10 - Liquid Fuel System/Liquid Fuel Dosage System | 2046025 |
| 2D3 0801 | MBP - Gas Fuel System | 2046026 |
| 2D3 0901 | MBQ - Ignition Gas System | 2046027 |
| 2D3 1001 | MBV - Lubrication Oil System | 2046028 |
| 2D3 1101 | MK - Generator System | 2046029 |
| 2D3 1201 | QFA - Instrument Air System Including Compressor | 2046030 |
| 2D3 1301 | SAA,SAG - Ventilation System | 2046031 |
| 2D3 1401 | SAC - Ventilation System Control Room | 2046032 |
| 2D3 1501 | SAE - Ventilation System Generator | 2046033 |
| 2D3 1601 | SDB - Compressor Washing System | 2046034 |
| 2D3 1701 | SFY - Gas Detection System | 2046035 |
| 2D3 1801 | SGJ - Fire Detection & Extinguishing System | 2046036 |
| 2E3 0101 | Setting List | 2046040 |
| 2E3 0201 | Instrument List | 2046039 |
| 2E3 0301 | Aggregate List | 2046037 |
| 2E3 0401 | Electrical load list | 2046038 |
| 3A3 0101 | GT Maintanance Introduction | 1CS51012 |
| 3A3 0201 | Maintenance Safety PG | 1CS51015 |
| 3A3 0301 | Compressor Washing Instructions | 1CS51016 |
| 3A3 0302 | Lubrication Oil System Instructions | 1CS51020 |
| 3A3 0303 | Lubricant List | 1CS51021 |
| 3A3 0304 | Gas Fuel Filter Change Instruction | 1CS51023 |
| 3A3 0305 | Liquid Fuel Filter Change Instruction | 1CS51024 |
| 3A3 0306 | Liquid Fuel Test Instruction | 1CS51025 |
| 3A3 0307 | Dump and Load of Software | 1CS51026 |
| 3A3 0401 | GT Storage and Preservation | 1CS26792 |
| 3C-3 0101 | List of Documents | 1CS64634 |
| 3C-3 0103 | Single Line Diagrem MV 11kV | 1CS63317 |
| 3C-3 0104 | Single Line Diagram LV 400/230/24V | 1CS63335 |
| 3C-3 0105 | Earthing Layout GT Skid | 1CS63368 |
| 3C-3 0106 | Setting List Switchgear | 1CS40154 |
| 3C-3 0107 | Setting List AVR | HDE7-001/E |
| 3C-3 0108 | Settin List Relay Protection | 1CS63438 |
| 3C-3 0109 | Setting List SFC MBV & BPA System | 1CS40151 |
| 3C-3 0111 | Setting List SFC MBJ System | 1CS44440 |
| 3C-3 0112 | Setting List SFC MBN System | 1CS44447 |
| 3C-3 0113 | Setting List Moog Drives | 1CS36705 |
| 3C-3 0115 | Setting List Battery Charger | 1CS42058 |
| 3C-3 0201 | Circuit Diagram | 3815854 |
| 3C-3 0301 | Cable Table | 1CSL4651 |
| 3C-3 0302 | Connection Table External | 1CSL4653 |
| 3C-3 0304 | Connection Table | 1CSL4652 |
| 3C-3 0401 | Layout Control Room | 1CS63339 |
| 3C-3 0403 | Layout Control Cubicles CHA10-20 | 1CS63446 |
| 3C-3 0404 | List of Apparatus CHA10-20 | 1CSL4693 |
| 3C-3 0406 | Layout Control Cubicles CJP10-30 | 1CS63442 |
| 3C-3 0407 | List of Apparatus CJP10-30 | 1CSL4690 |
| 3C-3 0409 | Junction Box Layouts & Spec. | 3800413 |
| 3D-3 0101 | Crossreference List PC-DB | 3816223 |
| 3D-3 0201 | PC1 Unit Automatic & Sequencing | 3816220 |
| 3D-3 0202 | PC2 Turbine Automatic & Sequincing | 3816221 |
| 3D-3 0303 | PC3 Generator Automatic & Sequencing | 3816222 |
| 3D-3 0401 | Crossreference lIST pc-db, STN 02 | 3816225 |
| 3D-3 0404 | PC 2 Tree | 3816224 |
| 3D-3 0501 | Crossreference List PC-DB, stn 03 | 3816227 |
| 3D-3 0503 | PC 3 Tree | 2816226 |
| 3D-3 0601 | Crossreference List PC-DB, stn 05 | 3816229 |
| 3D-3 0603 | PC 1 Tree, stn 05 | 3816228 |