General list of components, GT7

| Part Pos./Des. |  | Function description | Doc.Id |
| --- | --- | --- | --- |
| 3B3C CRB0101 |  | Advant Contoller 160 | 3BDS 005 555R401 |
| 3B3C CRB0102 |  | S600 I/O Hardware | 3BSE 011 123R0001 |
| 3B3C CRB0201 |  | Data Base Elements Advant Controller 160 | 3BDS 005 556R501 |
| 3B3C CRB0202 |  | PC Elements Advant Controller 160 | 3BDS 005 557R301 |
| 3B3E BFA10 |  | Low-voltage Switchgear | 3800336-AA-D |
| 3B3E BFT20GT005 |  | Transformers | 37609-B |
| 3B3E BPA10 |  | UMD & UPS | 37106-A |
| 3B3E BTA10 |  | UMD & UPS | 3811374-A-D |
| 3B3E CHA10-20 |  | Control Cubicles | L1001333 |
| 3B3E CJP10 |  | 3500 Monitoring System | 142457 |
| 3B3E CJP10-30 |  | Control Cubicles // See: 3B3ECHA10-20 // | L1001333 |
| 3B3E CJP20 |  | Servocontroller T161 Powersupply T160 | T161UM_EN01 |
| 3B3E MBJ10GU001 |  | Auxiliary Power Equipment | ACS800 |
| 3B3E MKA10 |  | Generator AMS 1120LC | 1CS46153-A-D |
| 3B3E MKY10 |  | Voltage Regulator Equipment | 2414479-B-D |
| 3B3M MBA10CQ005 |  | Flame Monitoring | BFI_Rtg_En_04.05 |
| 3B3M MBB10CP005 |  | Exhaust Gas Pressure // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBB10CP005-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBB10CP005-P01 |  | Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBB10CP010 |  | Exhaust Gas Pressure // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBB10CP010-KA10 |  | 5-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBB10CP010-P01 |  | Diff. Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH10BP005-KA01 |  | Orifice // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH10BP010-KA01 |  | Orifice // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH10BP015-KA01 |  | Orifice // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH10CT005-P01 |  | Thermometer PT 100 // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA010 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA010-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA010-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA010-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA010-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA010-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA015 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA015-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA015-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA015-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA015-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA015-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA020 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA020-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA020-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA020-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA020-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA020-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA215 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA215-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA215-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA215-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA215-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA215-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20AA230-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20BP230-KA01 |  | Orifice // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20CP005-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20CP015-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20CP025-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBH20CT005-P01 |  | Thermometer PT 100 // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBJ10AE005 |  | Start-up Unit | 2461007-1-D |
| 3B3M MBL01 |  | Inlet Plenum | 1CS39023-2 |
| 3B3M MBL30BS005 |  | Air Intake Silencer | 2031273-1 |
| 3B3M MBL30CP015 |  | Diff. Pressure Inlet Plenum // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBL30CP015-KA10 |  | 5-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBL30CP015-P01 |  | Diff. Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10 |  | Liquid Fuel System | 002567 |
| 3B3M MBN10AA010 |  | Level Control Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AA025 |  | Shut Off Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AA030 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10AA030-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10AA030-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10AA030-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10AA030-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10AA030-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10AA040 |  | Shut Off Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AA205 |  | Drain Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AA215 |  | Safety Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AA220 |  | Drain Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AA225 |  | Drain Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AA235 |  | Shut Off Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AA240 |  | Shut Off Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AA405 |  | Test Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AH005 |  | Electric Heater // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AP005 |  | Fuel Oil Pump // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AP005-M01 |  | Motor for Fuel Oil Pump // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AT005 |  | Duplex Filter // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AT010 |  | Suction Filter // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10AT015 |  | Spin-on Filter // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10BB005 |  | Liquid Fuel Tank // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10CF005 |  | Flow Meter // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10CL005 |  | Level Switch // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10CP005 |  | Diff. Pressure Transmitter // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10CP005-KA10 |  | Five Way Manifold // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN10CP020-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10CP035 |  | Diff. Pressure Before Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10CP035-KA10 |  | 5-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10CP035-P01 |  | Diff. Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN10CT005 |  | PT100 // See: 3B3MMBN10 // | 002567 |
| 3B3M MBN30AA005 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA005-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA005-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA005-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA005-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA005-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA010 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA010-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA010-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA010-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA010-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA010-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA015 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA015-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA015-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA015-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA015-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA015-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA025 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA025-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA025-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA025-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA025-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA025-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA030 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA030-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA030-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA030-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA030-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA030-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA035 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA035-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA035-MS01 |  | Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA035-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA035-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30AA035-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30BP005-KA01 |  | Orifice // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30CP005 |  | Pressure Instrument Air // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30CP005-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30CP005-P01 |  | Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30CP010 |  | Pressure Purge Air // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30CP010-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN30CP010-P01 |  | Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN40AA005 |  | Shut Off Valve | 2410080-1 |
| 3B3M MBN40AA010 |  | Shut Off Valve // See: 3B3MMBN40AA005 // | 2410080-1 |
| 3B3M MBN40AA015 |  | Shut Off Valve // See: 3B3MMBN40AA005 // | 2410080-1 |
| 3B3M MBN40AA020 |  | Shut Off Valve // See: 3B3MMBN40AA005 // | 2410080-1 |
| 3B3M MBN40AA025 |  | Shut Off Valve // See: 3B3MMBN40AA005 // | 2410080-1 |
| 3B3M MBN40AA030 |  | Shut Off Valve // See: 3B3MMBN40AA005 // | 2410080-1 |
| 3B3M MBN40AA035-Y01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN40AA040-Y01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN40BP005-KA01 |  | Orifice // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBN40BP010-KA01 |  | Orifice // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBP05 |  | Gas Fuel Unit #1 | P05117 |
| 3B3M MBP05AA005 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA015 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA020 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA025 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA030 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA035 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA040 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA045 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA050 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA055 |  | Shut Off Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA205 |  | Vent Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA225 |  | Vent Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA230 |  | Vent Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA235 |  | Vent Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA240 |  | Vent Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA245 |  | Vent Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA250 |  | Vent Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA255 |  | Drain Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA265 |  | Drain Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA270 |  | Drain Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA280 |  | Drain Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA305 |  | Nitrogen Purging Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AA310 |  | Nitrogen Purging Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AH010 |  | Insulation and Electrical Heating Cable // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AT015 |  | Gas Fuel Filter Coalescer // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05AT025 |  | Gas Fuel Filter Coalescer // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CF005 |  | Flow Gas Fuel // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CL020 |  | Condensate Indicator // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CL025 |  | Condensate Indicator // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CP005 |  | Diff. Pressure Gas Fuel Filter // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CP005-KA01 |  | Isolation Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CP005-KA02 |  | Isolation Valve // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CP005-KA10 |  | 5-Way Manifold // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CP010 |  | Pressure Gas Fuel // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CP010-KA10 |  | 2-Way Manifold // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CP025 |  | Pressure Gas Fuel // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP05CP025-KA10 |  | 2-Way Manifold // See: 3B3MMBP05 // | P05117 |
| 3B3M MBP10 |  | Gas Fuel Unit 1 | 002566 |
| 3B3M MBP10AA025 |  | Shut Off Valve // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10AA030 |  | Shut Off Valve // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10AA035 |  | Gas Fuel Control Valve // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10AA040 |  | Pressure Reducing Valve // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10AA045 |  | Pressure Reducing Valve // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10AA205 |  | Shut Off Valve // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10AA230 |  | Shut Off Valve // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10CP015 |  | Pressure Transmitter // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10CP015-KA10 |  | Two Way Manifold // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10CP030 |  | Pressure Gauge // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10CP035 |  | Pressure Gauge // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP10CP050 |  | Pressure Transmitter Main Control Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBP10CP050-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBP10CP050-P01 |  | Gauge Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBP10CT005 |  | PT 100 // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP20AA005 |  | Gas Fuel Control Valve // See: 3B3MMBP10 // | 002566 |
| 3B3M MBP20CP005 |  | Pressure Transmitter Pilot Control Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBP20CP005-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBP20CP005-P01 |  | Gauge Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10 |  | Ignition Gas System | 002565 |
| 3B3M MBQ10AA005-KA01 |  | Pressure Reducing Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10AA010-KA01 |  | Pressure Reducing Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10AA015-KA01 |  | Pressure Reducing Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10AA020-KA01 |  | Pressure Reducing Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10AA025-KA01 |  | Three Way Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10AA035 |  | Pressure Control Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA040 |  | Shut Off Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA045 |  | Shut Off Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA050-KA01 |  | Needle Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10AA210 |  | Shut Off Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA215 |  | Check Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA405 |  | Shut Off Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA410 |  | Pressure Control Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA415-KA01 |  | Needle Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10AA420 |  | Shut Off Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA425 |  | Shut Off Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA430 |  | Solenoid Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AA450 |  | Solenoid Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ10AH005 |  | Self-regulating Heating Cables | 1CS39523-2 |
| 3B3M MBQ10AH010-R01 |  | Heater // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10BP005-KA01 |  | Orifice Block // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10CP005 |  | Gas Pressure // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10CP005-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10CP005-QP01 |  | Pressure Gauge // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10CP010 |  | Gas Pressure Before Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10CP010-KA01 |  | Over Pressure Protector // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10CP010-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10CP010-QP01 |  | Pressure Gauge // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ10CP400 |  | Pressure Control Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ20AA005 |  | Shut Off Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ20AA010 |  | Shut Off Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ20AA015 |  | Fuel Manifolds | 2409384-3 |
| 3B3M MBQ20AA015-Y01 |  | Solenoid Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ20AA020 |  | Fuel Manifolds // See: 3B3MMBQ20AA015 // | 2409384-3 |
| 3B3M MBQ20AA020-Y01 |  | Solenoid Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ20AA205 |  | Shut Off Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ20AA210 |  | Safety Valve // See: 3B3MMBQ10 // | 002565 |
| 3B3M MBQ20CP005 |  | Gas Pressure To Burner // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ20CP005-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBQ20CP005-QP01 |  | Pressure Gauge // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBR01 |  | Exhaust System | 1CS38474-5 |
| 3B3M MBT10AA005 |  | Gas Generator System | 2511476-1-D |
| 3B3M MBT10AA010 |  | Gas Generator System // See: 3B3MMBT10AA005 // | 2511476-1-D |
| 3B3M MBT10CP005 |  | Compressor Inlet Pressure // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP005-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP005-P01 |  | Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP010 |  | Compressor Inlet Flow // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP010-KA10 |  | 5-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP010-P01 |  | Diff. Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP015 |  | Compressor Discharge Pressure // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP015-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP015-P01 |  | Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP020 |  | Compressor Discharge Pressure // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP020-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP020-P01 |  | Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP025 |  | Compressor Discharge Pressure // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP025-KA10 |  | 2-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBT10CP025-P01 |  | Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBU10 |  | Liquid Fuel Dosage Unit | 1CS39031-1 |
| 3B3M MBU10AA435 |  | Shut Off Valve // See: 3B3MMBN10 // | 002567 |
| 3B3M MBV10 |  | Lube Oil System | 002513 |
| 3B3M MBV10AA210 |  | Drain Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10AH005 |  | Lube Oil Heater // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10AH005-K01 |  | Temperature Switch // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10AH010 |  | Lube Oil Heater // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10AH010-K01 |  | Temperature Switch // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10AN005 |  | Oil System Vent. Fan // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10AN005-M01 |  | Oil System Vent. Fan Motor // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10AT005 |  | Oil Mist Filer // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10AT015 |  | Oil Filling Strainer // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10BB005 |  | Lube Oil Tank // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10BB010 |  | Orifice // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10CL005 |  | Level Gauge // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10CL010 |  | Level Transmitter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10CP005 |  | Pressure Gauge // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10CP005-KA10 |  | Two Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10CP010 |  | Diff. Pressure Gauge Oil Mist Filter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10CP015 |  | Diff. Pressrue Transmitter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10CP015-KA10 |  | Five Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10CP020-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV10CP025-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV10CP030-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV10CP035-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV10CT005 |  | Temperature Gauge // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV10CT010 |  | PT100 // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV21AA010 |  | Check Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV21AA015 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV21AP005 |  | Main Oil Pump // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV21AP005-M01 |  | Main Oil Pump Motor // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV21BP005 |  | Orifice // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV21CP005 |  | Pressure Switch // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV21CP005-KA10 |  | Two Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV22AA010 |  | Check Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV22AA015 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV22AP005 |  | Main Oil Pump // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV22AP005-M01 |  | Main Oil Pump Motor // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV22BP005 |  | Orifice // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV22CP005 |  | Pressure Switch // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV22CP005-KA10 |  | Two Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV23AA010 |  | Check Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV23AA015 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV23AP005 |  | Main Oil Pump // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV23AP005-M01 |  | Main Oil Pump Motor // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV23BP005 |  | Orifice // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV23CP005 |  | Pressure Switch // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV23CP005-KA10 |  | Two Way Mainfold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV30AA020 |  | Temperature Control Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV30AA025 |  | Pressure Adjusting Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV30BP005 |  | Vent Cooler Orifice // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV30BP215 |  | Oil Piping Vent Orifice // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV30BP220 |  | Oil Piping Ven Orifice // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV30CP010 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV30CT010 |  | Thermowell // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA005 |  | Change Over Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA010 |  | Change Over Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA015 |  | Balance Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA020 |  | Oil Sampling Vale // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA205 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA210-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV40AA215 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA220 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA225 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA230 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA235 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AA240 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AT005 |  | Duplex Filter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40AT010 |  | Duplex Filter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40BP205 |  | L.O. Filter Vent Orifice // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40BP210 |  | L.O. Filter Vent Orifice // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CP010 |  | Diff. Pressure Transmitter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CP010-KA10 |  | Five Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CP015 |  | Pressure Transmitter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CP015-KA10 |  | Two Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CP020 |  | Pressure Gauge // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CP020-KA10 |  | Two Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CP025 |  | Pressure Transmitter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CP025-KA10 |  | Two Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CP030-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV40CP035-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV40CP040-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV40CP045-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV40CT005 |  | PT100 // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CT010 |  | Temperature Gauge // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV40CT015 |  | PT100 // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV51AA005 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV51AA010 |  | Check Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV51AA015 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV51AP005 |  | Booster Pump // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV51AP005-M01 |  | Booster Pump Motor // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV51CP005 |  | Pressure Switch // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV51CP005-KA10 |  | Two Way Mainfold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV52AA005 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV52AA010 |  | Check Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV52AA015 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV52AP005 |  | Booster Pump // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV52AP005-M01 |  | Booster Pump Motor // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV52CP005 |  | Pressure Switch // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV52CP005-KA10 |  | Two Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV53AA005 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV53AA010 |  | Check Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV53AA015 |  | Shut Off Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV53AP005 |  | Booster Pump // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV53AP005-M01 |  | Booster Pump Motor // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV53CP005 |  | Pressure Switch // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV53CP005-KA10 |  | Two Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54AA005 |  | Pressure Control Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54AA010 |  | Isolation Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54AA020 |  | Isolation Valve // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54CP005 |  | Diff. Pressure Gague // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54CP005-KA10 |  | Five Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54CP010 |  | Pressrue Gague // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54CP010-KA10 |  | Two Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54CP015 |  | Diff. Pressure Transmitter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54CP015-KA10 |  | Five Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54CP020 |  | Diff. Pressure Transmitter // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54CP020-KA10 |  | Five Way Manifold // See: 3B3MMBV10 // | 002513 |
| 3B3M MBV54CP030-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV60AA015 |  | Dumping Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV60AA015-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV60AA015-MS01 |  | Pneumatic Actuator // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV60AA015-S11 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV60AA015-S21 |  | Limit Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV60AA015-Y01 |  | Solenoid Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV60BP005-KA01 |  | Orifice // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV60CL0005-P01 |  | Level Switch // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M MBV60CP005-KA01 |  | Shut Off Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M QFA10AA140 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SAA10 |  | Ventilation System | 3443 & 3447/EN |
| 3B3M SAA10AB005 |  | Shut off Damper // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AB005-S11 |  | Limit Switch // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AB005-Y01 |  | Solenoid // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AB010 |  | Shut Off Damper // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AB010-S11 |  | Limit Switch // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AB010-Y01 |  | Solenoid // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AN005 |  | Fan // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AN005-M01 |  | Electrical Motor // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AN010 |  | Fan // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AN010-M01 |  | Electrical Motor // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10AT020 |  | Aux. Outlet Duct // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAA10CP005 |  | Airflow Transmitter // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAC10 |  | Control Room | 10017_32462-En |
| 3B3M SAC10AH005 |  | Air Conditioning Unit // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M SAC10AN005 |  | Cooler Fan // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M SAC10AN025 |  | Battery Room Fan // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M SAC20AH005 |  | Air Conditioneng Unit // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M SAC20AN005 |  | Cooler Fan // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M SAC20AN025 |  | Battery Room Fan // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M SAE30AA005 |  | Non Reutrn Damper // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAE30AT050 |  | Weather Louvre // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAE30BS015 |  | Silencer // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAE30BS020 |  | Silencer // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAE30BS025 |  | Silencer // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAE30CP020 |  | Filter Gauge // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AA010 |  | Non Return Damper // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AA015 |  | Non Return Damper // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AB005 |  | Shut off Damper // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AB005-S11 |  | Limit Switch // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AB005-Y01 |  | Solenoid // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AB010 |  | Shut off Damper // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AB010-S11 |  | Limit Switch // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AB010-Y01 |  | Solenoid // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AB020 |  | Shut off Damper // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AB020-S11 |  | Limit Switch // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AB020-Y01 |  | Solenoid // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AN005 |  | Fan // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AN005-M01 |  | Electric Motor // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AN010 |  | Fan // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AN010-M01 |  | Electric Motor // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AT005 |  | Sandfilter // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AT015 |  | Filter // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10AT040 |  | Weather Louvre // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10BS005 |  | Inlet Silencer // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10BS010 |  | Inlet Silencer // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10BS020 |  | Outlet Silencer // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10CP003 |  | Diff. Prtessure Gauge // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SAG10CP005 |  | Diff. Pressure Gasturbine Room // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SAG10CP005-KA10 |  | 5-Way Manifold // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SAG10CP005-P01 |  | Diff. Pressure Transmitter // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SAG10CP010 |  | Airflow Transmitter // See: 3B3MSAA10 // | 3443 & 3447/EN |
| 3B3M SDB10 |  | Compressor Wash System | P/N20260 EC 2150 |
| 3B3M SDB25AA005-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SDB30 |  | GTE Nozzle hardware kit | P/N20256 EC 2083 |
| 3B3M SDB50AA205-KA01 |  | Check Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SDB50AA210-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SDB50AA215-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SDB50AA220-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SDB50AA225-KA01 |  | Ball Valve // See: 3B3MXMisc00 // | GS2048 184-A/192-A |
| 3B3M SFY10 |  | Fire Detection & Extinguishing Systems | 1CS38380-1-D |
| 3B3M SGJ10 |  | Fire Detection & Extinguishing Systems // See: 3B3MSFY10 // | 1CS38380-1-D |
| 3B3M UCB10 |  | Control Room | 1CS38297-1/-4 |
| 3B3M UCB10AH005 |  | Armature // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M UCB10AH010 |  | Armature // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M UCB10EG005 |  | Armature // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M UCB10EG010 |  | Armature // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M UCB10EG015 |  | Armature // See: 3B3MSAC10 // | 10017_32462-En |
| 3B3M UMB10 |  | Sound Enclosure | 1CS39023 |
| 3B3M XMisc00 |  | Assembly Material for Gas Generator Unit | GS2048 184-A/192-A |